# Creating wetlands within reservoirs

Trip report by Peter-John Meynell (MK3) and Dr. Chu Thai Hoanh(MK1) to assess potential sites for constructed wetlands within the Nam Gnouang reservoir (THPC)

2 – 6 July 2012

Contents

1	Introduction	3

2	Survey team	3

3	Schedule of visit	4

3.1	Monday 2 July	4

3.2	Tuesday 3 July	4

3.3	Wednesday 4 July	4

3.4	Thursday 5 July	4

3.5	Friday 6 July	4

4	Development of criteria for site selection of constructed wetlands	5

5	Consideration of possible sites within Nam Gnouang reservoir	6

5.1	Overall observations	6

5.2	Observations of sites considered	6

5.3	Dyke designs for identified sites	18

5.3.1	Dykes No 1	18

5.3.2	Dyke No 2	18

5.3.3	Dyke No 3	18

5.3.4	Dyke No 4	18

5.3.5	Dyke No 5	19

5.4	Summary of dyke dimensions	19

6	Visit to Nam Theun 2 constructed wetlands	21

7	Development of designs for constructed wetlands within reservoirs	25

7.1	Designs	25

7.2	Wetland planting	25

7.3	Materials	28

7.4	Labour required	28

7.5	Costs	29

7.6	Comparison of costs and sizes of wetlands created	32

8	Water levels in the main reservoir and implications for created wetlands	33

8.1	Management of wetlands as fish ponds	36

9	Recommendations for creating wetlands in the NG reservoir	38

9.1.1	Conservation wetlands on Houay Gnang (Dykes 1 and 2) and on Houay Kongko (Dy-03)	38

9.1.2	Community fish pond below the road bridge to Keosangkham (Dyke 4)	38

9.1.3	Rehabilitate and reconstruct existing fish ponds at Ban Sopkhom (Dyke 5)	38

9.1.4	General recommendations	39

9.1.5	Next steps	39

10	Other issues	40

10.1	Revegetation of drawdown areas	40

10.2	Fisheries information gathered	40

10.3	Development of a sustainable fishery in the NG reservoir	42

11	Developing a proposal for a research project	44

11.1	Suggested title	44

11.2	Research hypotheses	44

11.3	Components	44

Annex: Sites and diagrams of constructed wetlands	46

Dyke No 1:	46

Dyke No 2:	47

Dyke No 3	50

Dyke No 4	51

Dyke No 5	52

# Introduction

This field trip and feasibility study follows on from an initial concept paper for creating wetlands in reservoirs that have a large draw down. The guiding hypothesis is that such reservoirs often have relatively limited diversity of aquatic habitats and their productivity is limited by the rather barren shoreline areas in the drawdown. The idea of developing permanent wetlands within the drawdown area through the construction of small dykes below the Full Supply Level that would retain water as the water level falls and be recharged with water during the wet season filling of the reservoir. Such created wetlands would contribute to greater habitat diversity and allow areas for fish spawning and growth and hence increase the productivity of the reservoir. Such created wetlands could also be used as more conventional fishponds for enhancing livelihood opportunities.

This field trip was organized as a collaboration between the Theun Hinboun Power Company (THPC) and the Challenge Program projects MK1 and MK3. It was organized between 2 – 6 July 2012. The purpose of the field trip was to carry out an initial survey of the possible locations where such created wetlands may be constructed, develop designs for the dykes and spillways and estimate sizes and approximate cost norms.

The field trip consisted of two full days on the newly finished Nam Gnouang reservoir accessing less accessible parts by small boat to identify possible inlets and creeks where these wetlands might be constructed. Another full day was spent in visiting the constructed wetlands in the Nam Theun 2 catchment, built in the watershed protection area by the Nam Theun Power Company in order to develop ideas for design of the dykes and spillways.

After the trip, the surveyors and irrigation engineers of THPC developed designs for the dykes and spillways at five of the locations identified, together with costs estimates, which have proven to be extremely useful for this field trip report / “pre-feasibility” report. The assistance provided by Dr Souane Thirakul and the THPC team was invaluable and we would like to thank all concerned for making the visit very fruitful.

# Survey team

The survey team consisted of the following people and their expertise:

- Peter-John Meynell – MK3 Team Leader, a wetland ecologist

- Dr Chu Thai Hoanh – MK1, IWMI, principal researcher on water resources

- Dr Souane Thirakul – THPC Expansion project, Biomass Forestry advisor

- Mr Ounheuan Khammeungmon – THPC Fisheries

- Mr Sengvilay Silivong – THPC Irrigation engineer

- Two THPC surveyors

# Schedule of visit

## Monday 2 July

PJM and CTH drive from Vientiane to THPC offices for initial briefing meeting with the THPC staff to develop the programme for the field trip and to establish working criteria for identifying possible sites on the reservoir where constructed wetlands might be located. Overnight in THPC guesthouse

## Tuesday 3 July

Drive to right bank of the reservoir at the Nam Gnouang dam site, the base of the biomass clearance and forest replanting operations on the reservoir. Boat trip to survey the northern shoreline of the reservoir. About 6 possible sites identified for more detailed survey. Drive to Lak Xao. Overnight.

## Wednesday 4 July

Drive from Lak Xao to Nakai. Boat trip across the Nam Theun 2 reservoir to the eastern shoreline and Watershed protection area. Walk for over one hour to one constructed wetland to review design and construction of dyke and discussions with NTPC biodiversity staff. Return to Lak Xao. Overnight.

## Thursday 5 July

Drive to Keosangkham resettlement village at the top end of the Nam Gnouang reservoir. Observe possible location of wetland site below the road crossing to Keosangkham. Discussions with community fisheries staff at fish landing site, boat trip to survey possible wetland site locations. Three possible sites identified including discovery of one set of three disused fish ponds constructed by a dyke and spillway within the reservoir. Lunch discussions with fishing family. Return and drive to THPC offices. Overnight in THPC guesthouse.

## Friday 6 July

Wrap up meeting with survey team, considering the detailed topographic maps of the reservoir in the locations identified. Agreement on need to find out the status of the existing fish ponds near Ban Sopkhom, i.e. on ownership and whether full compensation had been paid by THPC. Next steps discussion. PJM and CTH return to Vientiane.

# Development of criteria for site selection of constructed wetlands

Before starting to visit the reservoir and identify possible locations where dykes may be sited and wetlands created, the team discussed the criteria for such sites. These included:

- Size and shape of inlets – we are looking for inlets where the inlets are quite long and wide with relatively narrow constrictions where dykes may be constructed easily and cheaply

- Don’t construct on a major tributary, look for inlets with small seasonal streams – thus the dyke will not be washed away easily by flash floods, and it will not be a barrier for fish migration. Major tributaries should be kept clear of such dykes or small dams

- Relatively small catchment area – this is related to the above criterion to minimize the quantity of water that will be flowing from the catchment and the risks of flash floods.

- Look for areas where the slope below the full supply level is low – this criterion is included so that the constructed wetland should have a wider area with a relatively shallow and even profile. A narrow steep-sided wetland will be less productive than a wider shallow wetland with a low sloped banks

- Look for inlets with a narrow point where dyke can be constructed – the ease and cost of construction will be related to the length of the dyke and where it can be located within the profile of the inlet. Narrow points where the dyke can be fixed into the sides are preferred.

- Length and height of proposed dyke – For ease of construction and maintenance the dyke dimensions suggested should be about 2 – 3 m high and not more than 50 m across.

- Location within drawdown – the FSL of the Nam Gnouang reservoir is at 455 masl with the drawdown of 35 m to a Minimum Operating Level of 420 masl. The dykes should be located at elevations between 450 masl and 430  masl. This will enable construction to be carried out during the dry period, and will ensure that the dykes located at the higher elevations will be filled during the filling season, even if FSL is not reached every year.

- Opportunities for a cascade of wetlands – It was quickly realized in this reservoir with its steep sides, that construction of dykes higher than 2 – 3 m would be needed to create large areas of wetlands, and that this would be both costly and difficult to maintain. However the construction of a cascade of smaller dykes down an inlet would create the same effect as a series of pools down a stream although the length of inundation would differ depending on the position in the inlet.

- Source of construction materials – this is more of a secondary criterion once the sites are selected, but a reasonably local source of suitable earth for dyke and spillway construction (as well as stone for rip rap?) is important to keep costs down.

- Suitable for diversity aquatic habitat: soil and land cover are ecologically suitable for the purpose of diversifying aquatic habitat.

# Consideration of possible sites within Nam Gnouang reservoir

## Overall observations

The Nam Gnouang reservoir (Figure 1) was created by the construction of a 75 m high concrete dam just upstream of the village of Thasala. The reservoir was filled during the wet season of 2011. It is about 35 km long and 7.5 km wide at its widest point and covers an area of about 105 km2 and has a gross storage capacity of 2,450 Mm3 at FSL. It has a drawdown of 35 m from an FSL at 455 masl to 420 masl. At the time of the visit the reservoir level was at 447 masl (446.92 masl on Wednesday 4 July)

It has several major tributaries and is characterized by many small inlets arising from the very steep sides of the limestone hills that surround it on both north and south banks. The many small inlets often have very steep sides and are narrow and winding.

The two major tributaries are:

- Nam Heung and Nam Pan flowing in at the top end of the reservoir

- Nam Po flowing in from the north at about the mid-point of the reservoir

Smaller seasonal streams include:

- Houay Gnang (north side of reservoir)

- Houay Kongko (north side of the reservoir)

- Houay Ka Out (eastern end of the reservoir)

Before inundation, partial vegetation clearance was undertaken but there still remain extensive areas of dead trees standing along the banks of the reservoir and on the islands. This sometimes makes access up the inlets difficult. Many inlets visited did not meet the initial criteria in that they were too wide and deep for practical installation of a dyke.

## Observations of sites considered

The following sites were identified as having potential. Some of these were subsequently surveyed to identify exact potential dyke locations and dimensions. These included:

- Inlet at GPS coordinates 459784 E x 2026304 N. This site consisted of a long winding channel up a through standing trees and bamboo. It culminated in the junction between two small streams just below the FSL. The soil at this point was clay loam and quite sticky.

- Inlet at GPS coordinates 459838 E x 2026671 N. Smaller inlet than above, with many bamboos, with a possible wetland area of less than 2 ha.

- Inlet at GPS coordinates 461954 E x 2027072 N. A promising site with a relatively narrow opening and “lagoon behind and with a shallow sloped area at the top of the reservoir level, currently being cultivated for maize and with two small temporary houses. Potential for 2- 3 ha wetland areas. This point was later surveyed as Dy-03.

- Inlet at GPS coordinates 464686 E x 2027462 N. Relatively small creek with flooded area behind

- Inlet at GPS coordinates 466971 E x 2028994 N. Long inlet under a big limestone hill. Channel too wide with little definition of banks for location of dyke, but note islands in channel

- Inlet at GPS coordinates 469347 E x 2028909 N. Complex inlet with many possibilities

- Inlet at GPS coordinates 469120 E x 2029508 N. Further up inlet above, with possibility for 3 ha of inundated area. Near entrance exposed soils on bank showed a topsoil layer of about 20 cm with a stony clay subsoil. Site Number 1. This channel was later surveyed as Dy-01 and 02

- Inlet at GPS coordinates 475406 E x 2028786 N. Small inlet with bamboos at entrance. About 100 m long, small catchment. Sandy clay soils on bank

- Inlet with GPS coordinates 475462 E x 2029334 N. Wide inlet with many submerged trees. Probably too wide

- Inlet with GPS coordinates 469619 E x 2031417 N.  Narrow entrance to inlet after submerged trees, widening out with a flatter slope along one arm. One possible dyke location.

- Inlet with GPS coordinates 468332 E x 2029229 N. Thick bamboo at inlet entrance, going back a long way. No clear location for a dyke.

- Road crossing to Keosangkham. GPS coordinates at 490473 E x 2022643 N. This location had been identified previously as a possible location because of access and the potential for incorporating a water regulating feature in the culvert. On inspection it was considered that this idea would not be advisable because it might interfere with the integrity of the road crossing. However, it was considered that there would be a possibility of constructing a dyke some 100 m downstream which create a wetland downstream of the road crossing and back through the culvert. This was later surveyed as Dy-04.

- Small inlet by the Keosangkham fish landing GPS coordinates at 489808 E x 2024746 N. A deep channel which will be designated as a Fish Conservation Zone (Deep pool). Not suitable for dyke construction

- Inlet leading to Fish landing at Tan Leua Phou Khadoi GPS coordinates at 489395 E x 2019064 N. Many bamboo block entrance to channel. Not appropriate to create dyke near fish landing.

- Inlet at GPS coordinates 488138 E x 2020476 N. Long winding narrow channel, with many submerged trees. At top end of this channel we discovered an existing dyke and spillway which had been built to create a series of three fish ponds before the reservoir. GPS coordinates of this existing dyke at 487986 E x 2020809 N. Above the large pond, another small dyke and spillway had been created and a third pond existed on the other side of an access road between Ban Sopkhom and Thongviengkham, separated by a culvert. All three pond areas lie below the full supply level. Some repairs would be needed for all three dykes and spillways to create effective wetland areas. This area was later surveyed as Dy-05.

Figure 1: Topographic map of Nam Gnouang reservoir

Figure 2: NG reservoir showing potential dykes location

Figure 3: Inlet No 1. Two small streams at top of inlet. Probably not suitable because streams may be too strong

Figure 4: Inlet No 3. Maize and cassava grown in draw down area. Possible location for Dyke No Dy-03

Figure 5: Inlets at Dy-01 and Dy-02 and soils on bank

Figure 6: Steep slope of draw down with exposed rock and no vegetation and b) clear demarcation of FSL on dead vegetation

Figure 7: Road over small stream near Keosangkham, a) looking downstream to location of Dy-04, b) looking across to road and culvert c) road and culvert from upstream

Figure 8: Reservoir levels at Keosangkham (21/8/2012), showing high turbidity upstream of the road bridge and clearer water downstream

Figure 9: Existing Fish ponds near Ban Sopkhom a) dyke, spillway and old sluice gate on lower pond, b) lower pond

Figure 10: a) Existing upper pond separated by road and culvert drains, b) upper pond, site for Dy-05

Figure 11: Upper pond above Dy-05

## Dyke designs for identified sites

### Dyke No 1

Located on the Houay Gnang, a cascade of two dykes has been considered – Dykes no 1 and 2.

Dyke No 1 is located at 470253.43 E x 2028668.74 N. It would be 30 m in length, 2.7 m high and 2.00 m wide with a top level set at 443.70 masl. The bottom of the deepest part of the channel is at 439.84 masl. A spillway almost 25 m long by 3m wide would be constructed on the right bank of the channel.  This would create a wetland with a length of 250 m, a water surface area of 10,110 m2 and water volume of 5,713 m3 .  The depth of the wetland would be 2.00 m between the NGL of 441.00 masl and a WFL of 443.00 masl.

The catchment area of this wetland would be 4.6 km2.

### Dyke No 2

Dyke No 2 is located further up the Houay Gnang at 470124.63 E x 2029113.76 N. It is 10 m in length, 2.0 m high and 2.0 m wide with the top level set at 447.5 masl. There would be a spillway located on the right bank of the dyke 20 m long by 3 m wide. The NGL is 445.5 masl and WFL is at 447, which would create a wetland which would be 1.5 m deep. The wetland created would be very long and narrow in the area nearest the dyke, widening out as it approaches the junction of two small streams. It inundates up the right hand stream where the wetland widens further creating two distinct pools. It would have a total length of 970 m with a water surface area of 7,618 m2 and a water volume of 4,775 m3.

The catchment area of this wetland would be 4.6 km2.

### Dyke No 3

Dyke No 3 is located on the Houay Kongko at 470911.98 E x 2030599.55 N.  It is 10 m in length, 2.2 m high and 2.0 m wide with a top level set at 444.2 masl. There would be a 15 m long x 3 m wide spillway located on the right bank of the dyke. The NGL would be at 441.98 masl and the WFL at 443.5 masl giving a wetland depth of just over 1.5 m. The wetland created would be 500 m long, with a water surface area of 9,275 m2 and a water volume of 8,609 m3.

The catchment area of this wetland would be 3.6 km2.

### Dyke No 4

Dyke No 4 is located just downstream of the road crossing to Keosangkham at 491019.11 E x 2022140.21 N. It is 7.5 m wide, 2.2 m high and 2.0 m wide with a top level set at 447.7 masl. There would be a 15 m long x 4 m wide spillway located on the left bank of the dyke. The NGL would be at 445.5 masl with a WFL at 447.00 masl giving a wetland with a depth of 1.5 m. The created wetland which would extend just beyond the road crossing would be 190 m long, with a water surface area of 1,500 m2 and a water volume of 1,034 m3.

The catchment area of this wetland would be 4.6 km2.

### Dyke No 5

Dyke No 5 is located at the existing set of fish ponds on the road between Ban Sopkhom and Tongviengkham at 488946.11 E x 2020319.46 N. The existing lower dyke and spillway would remain as they are with minor rehabilitation. The upper dyke would be reconstructed to be 15 m long, by 2.5 m high and 2.0 m wide, with a top level set at 451.0 masl. It would have a 15 m long x 3 m wide spillway located on the right bank of the dyke. It would have a NGL at 449.1 masl and a WFL at 450.5 masl giving a wetland depth of 1.4 m. The upper wetland length would be 200 m long, with a water surface area of 2,542 m2 and a water volume of 1,922 m3.

The catchment area of this wetland would be 0.46 km2. [This is quite small?]

The lower existing fish pond has not been fully surveyed yet, but would appear from the diagrams to have a WFL at 448.5 masl and an NGL at about 444 masl, giving a depth of 4.5 m. The wetland is about 300 m long and has a water surface area of about 4,000 m2.

The extension of the lower pond beyond the culverts across the road has not been surveyed.

## Summary of dyke dimensions

A summary of the dyke and spillway dimensions for the 5 sites is provided In Table 1.

Table 1: Summary of dimensions of the wetland dykes surveyed

# Visit to Nam Theun 2 constructed wetlands

The visit to the constructed wetlands in the Nam Theun 2 catchment area was extremely useful on several counts:

- Observation of the overall design and status of one of the constructed wetlands in the watershed management area. This confirmed the simple earth dyke and spillway design. In particular the original concept had a concrete spillway, and we were pleased to note that this wetland had a simple clay lined spillway.

- The dyke appeared to be intact, with little sign of disintegration after about 3 years, despite there being no maintenance. However, it was noted that these dykes are not inundated each year by the reservoir.

- The size and scale of the dyke confirmed the requirements for the dykes to be constructed in the NG dam

- Water was being stored in the small pond behind the dyke and the spillway was flowing. It is not known what the extent of the wetland would be at the end of the dry season, because the wetland had already received some rainfall and run-off.

- Some aquatic plants were now growing in the wetland, though no emergent rushes and reeds were seen. The trees that had been growing in the area had now died off but were still standing.

- Aquatic insects flying above the wetland (dragon flies) and small fish were observed in the wetland.

In addition, at the beginning of the walk to the wetlands on the banks of the NT2 reservoir, it was noted that thick grasses and herbs were growing on the slight slopes of the reservoir. This is in contrast to many areas of the NG reservoir, which is still rather barren. This indicates the importance of slope and suitable soils for annual plants to grow in the drawdown areas – low slopes with relatively thick soil layer will allow growth of annual plants, higher slopes with stony subsoils will allow little growth.

Both reservoirs have extensive areas of dead and decaying trees, bamboos and bushes which had not been cleared prior to impoundment.

Figure 12: Earth dyke for NT2 wetland (from the left bank and from the right bank)

Figure 13: Spillway with water flowing from NT2 wetland

Figure 14: Wetland plants – Salix sp.

Figure 15: Grasses and herbs growing on the shallow-sloped draw down sides of the NT2 reservoir

# Development of designs for constructed wetlands within reservoirs

Several suggestions emerged from the field trip for the design of the dykes. These included

- For simplicity of design and construction, the dykes should not be more than 2 – 3 m high and not more than 50 m across

- A simple spillway should be included around each dyke in order to protect it from flash floods at the start of the monsoon prior to inundation by the reservoir. As seen in the Nam Theun 2 constructed wetlands such spillways may be of compacted clay construction materials, not concrete. However, they may need protection if they are to be inundated regularly

- Cascades of smaller dykes should be constructed within the seasonal stream channels rather than having one larger one that would inundate a larger area

## Designs

The designs of the dykes and spillways are similar for all the sites selected, although with different dimensions depending upon the site. In general the dykes would have a 2.00 m width at the crest with slopes of 1:1.5 on each side. The spillways would be designed to cope with expected water flows from the catchment and would be between 3 and 4 m wide with slopes ranging between -1.2 to -1.5%.  An example of the design for dykes and spillways is taken from Dyke No 3. These are shown in Figure 2 and 3.

One design issue that will have to be considered is the need for strengthening of the sides of the dykes with rip-rap to prevent erosion and “sagging” of the earth banks when they are completely inundated. Conventional earth bank dykes may not need rip-rap if they are designed to stand above the water level at all times. However, if they are completely inundated, they may begin to disintegrate over a period of time. The existing dykes at Dy-05 may indicate whether this protection would be necessary and it is suggested that these dykes and spillways be observed over the next years for indications of disintegration as the reservoir is successively filled and drawn down.

## Wetland planting

Depending upon the location and purpose for the constructed wetlands, it may be appropriate to consider planting of the wetland area with wetland plants. Choice of plants will depend upon the area and length of exposure time of the wetland and soil structure.

Planting of emergents or floating plants would only be effective in the upper wetland areas, that would not be  inundated to great depths. Wetlands lower down the drawdown would not be suitable for planting, because they would be under 5 or more metres of water for significant lengths of time.

There are several approaches:

- Allowing natural vegetation to occur from the surrounding environment. The problem with this is that in this sort of hilly area where there have not been small pond-type wetlands and marshes before, the availability of suitable seeds of wetland plant species may be low or may take a long time to appear.

- Facilitated seeding. This method would involve going to similar types of wetland area, e.g. in the wetlands in NT2 area, and collecting seeds for scattering in the constructed wetland such as use of “seed balls”.

- Physical planting out of wetland plants, e.g. the use of root stock and corms of rushes and reeds taken from other wetlands or the transplanting of nursery raised plants. Because this is much more intensive and expensive, careful identification of appropriate plant species would be necessary. This forms a part of the research proposal (see Chapter 11).

Figure 16 Plan and profile of Dyke No 3

Figure 17: Plan and profile of Spillway No 3

## Materials

The soil fill for the dykes and spillways would be sourced locally and excavated using local labour. Estimates of the materials to be excavated and used for compacted fill are shown in Table 2.

## Labour required

Estimates of the labour required show that the tasks involved and the manpower needed for each task would include:

The manpower plan for constructing the five dykes and spillways is shown in Table 2 below:

Table 2: Manpower plan for earth dyke construction showing volumes of excavation and compacted fill required for each dyke

## Costs

The bills of quantities for the five dykes are shown below in Table 3 and Table 4. Two options have been considered – Option 1 is for a simple earth dyke and Option 2 is for an earth dyke protected by rip rap. This may be necessary to protect the dyke when they are submerged and prevent slumping. Option 1 totals $ 21,608 for all five dykes and Option 2 totals $ 27,044 if the dyke walls are protected by rip rap.

The existing dykes for the fish pond at Dy-05 do not have rip rap protection and it will be interesting to see how they may be maintained during repeated filling and draw down of the reservoir. This would be an aspect of monitoring by the THPC engineers.

Table 3: Bill of quantities for five surveyed dykes and spillways Option 1.

Table 4: Bill of quantities for five surveyed dykes and spillways Option 2.

## Comparison of costs and sizes of wetlands created

It is useful to compare the costs and sizes of wetlands created in order to understand the cost effectiveness of the different dykes. Considering the cost of construction of the five wetlands, it can be seen that the range of USD/m2 of wetland created varies between 0.35 and 2.3 USD/m2 with Wetland No 2 being the most cost effective with a figure of 0.35 USD/m2 and Wetland No 4 being the least effective with a figure of 2.3 USD/m2. Costs per volume of water impounded show similar patterns ranging from 0.42 USD/m3 to 3.33 USD/m3. For these calculations, the costs of the basic dykes and spillways without rip-rap have been used.

Table 5: Cost effectiveness for creating wetland areas

It was noted that Dy-04 at Keosangkham has a relatively small surface area, and therefore a high unit cost per m2. It is suggested that this area might be increased slightly by increasing the height of the dyke to say 2.7 m (like Dy-01) in which case the surface area of the wetland would be increased, say to about 2,000 m2.

The surface areas of the wetlands behind Dy-4 and Dy-05 appear smaller than the other  wetlands, but are in fact comparable to dug fish ponds, that may have a rectangular shape 20 m x 50 m = 1,000 m2. For comparison with wetlands used for livelihoods activities, an interesting cost comparison can be made where fishponds are dug out of existing flat land and earth banks created around the pond. Excavation costs are listed as $8.00 per m3. In order to create a fish pond of 1,500 m2 and 1,034 m3 (Dy-04) the costs to excavate that volume would be $8,272, more than double the cost of building the dyke at Dy-04 ($3,444). The construction of this type of wetlands for aquaculture would therefore appear very competitive. However, fish ponds tend to have a uniform depth, whilst this fish pond at Dy-04 would be long and narrow and deep at one end, shallowing towards the upstream.

# Water levels in the main reservoir and implications for created wetlands

The functioning of the wetlands created is very dependent upon the seasonal patterns of filling and drying. This in turn is dependent upon

- The seasonal filling of the reservoir to Full Supply Level which takes place in September and October

- The drawdown which starts in November to the lowest levels expected in May/June each year

- Local rainfall and run-off in the micro-catchment of the seasonal stream

- Local evapo-transpiration and seepage.

It is noted that for this area the rainfall tends to be higher than the PET (potential evapo-transpiration) so these wetlands will receive a net contribution from rainfall as well as inundation with the reservoir. The very small size of these wetlands (storing in total just 0.001%) of the total reservoir volume means that they will make no significant difference to the water availability for hydropower. A huge number  more would need to be constructed, before this would become an issue.

Using simulated water level figures for the Nam Gnouang reservoir modeled by IWMI based upon rainfall figures for the period between 1986 and 2011 it is possible to get an estimate of when the wetlands may begin to be inundated each year as the water rises and when they would be left high above the reservoir level as the water is drawn down.

The simulated average monthly figures for the water level in the Nam Gnouang reservoir are shown in Table 5 and Figure 4. It can be seen that only for maximum rainfall years would the Full Supply Level be achieved, whilst for average rainfall years, the water level might reach 450 masl in November, and for low rainfall years the water level in the reservoir may only reach 440 masl. The Minimum Operating Level is likely only to be reached in low rainfall years.

Table 6: Simulated average monthly figures for the water level in the Nam Gnouang reservoir

| Month | Mean | Max | Min |
| --- | --- | --- | --- |
|  | masl | masl | masl |
| Jan | 447.31 | 453.49 | 440.43 |
| Feb | 443.79 | 449.92 | 438.53 |
| Mar | 439.47 | 445.94 | 434.03 |
| Apr | 434.01 | 441.2 | 426.57 |
| May | 426.78 | 434.58 | 420.05 |
| Jun | 421.77 | 428.11 | 420 |
| Jul | 422.28 | 428.01 | 420.95 |
| Aug | 427.18 | 434.78 | 423.97 |
| Sep | 435 | 443.7 | 428.06 |
| Oct | 441.91 | 452.53 | 432.87 |
| Nov | 447.17 | 455 | 437.78 |
| Dec | 449.09 | 454.96 | 439.72 |

Figure 4 shows these seasonal fluctuations in water levels in the reservoir together with the water flow levels for each of the wetland as summarized in Table 6.

Table 7 Levels in the created wetlands – Natural Ground Level and Water Flow Level

| Wetland/Dyke No | Location | NGL | WFL | Number of days connected to main reservoir |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | rainfall year |  |  |
|  |  | Masl | Masl | Average | Low | High |
| 1 | H. Gnang | 441.00 | 443.00 | 124 | 0 | 206 |
| 2 | H. Gnang | 445.50 | 447.00 | 65 | 0 | 164 |
| 3 | H. Kongko | 441.98 | 443.50 | 124 | 0 | 206 |
| 4 | H. Kaout | 445.50 | 447.00 | 65 | 0 | 164 |
| 5 | Upper fish pond | 449.10 | 450.50 | 0 | 0 | 132 |
| Existing dyke | Lower fish pond | 444.50 | 448.00 | 49 | 0 | 152 |

Figure 18: Graph of simulated mean monthly water levels in Nam Gnouang reservoir, showing water flow levels for each wetland

The important characteristic is the length of time that the wetland may be expected to be in contact with the main body of water in the reservoir, i.e. when the reservoir is above the water flow level in the wetland. Using the daily simulations of water levels, the number of days that the wetlands would be in contact with the main reservoir can be estimated for different water flow levels. Figure 5 shows this for water flow levels between 450 masl and 430 masl. Thus for wetlands with WFL at 450 masl, there would only be about 130 days when in contact with the main body of water in the reservoir during high rainfall years. This would apply to the upper fish pond at wetland 5 which for most years would have to rely on recharge from local run-off.

In contrast, wetlands 2 and 4, lying between 445 and 450 masl, in an average year would be in contact with the main body of the reservoir for nearly 65 days, and nearly 164 days in a very wet year. Similarly, wetlands 1 and 3, in a low rainfall year, would still not be connected to the main reservoir, but in an average rainfall year, they would be connected for 124 days, and for about 206 days for a very wet year. The months when the wetlands would be connected to the main reservoir would lie between the late rainy season, i.e. September/October and the mid to late dry season, i.e. mid-February to early April.

By similar calculations it would be possible to estimate the length of time which the wetlands would be under more than 5 m of water, which might be a factor determining what species of plants could survive in the wetlands.

Figure 19: Number of days when reservoir level is above wetland water flow level

In terms of seasonality therefore each of these wetlands would experience the following periods of water discharge and recharge.

- September/October – February/March – water recharge from contact with reservoir

- February/March – May/June – wetland isolated from main reservoir, water loss from seepage and evapo-transpiration

- May/June – September/October – water recharge from direct rainfall and run-off from catchment. Discharge when wetland water levels reach water flow level. This could occur after heavy rainfall events at any time during this period.

At first review, this seasonality would appear to be more or less in line with natural wetlands and so they may be expected to function more or less naturally. However, the hydrological functioning of the wetlands and the linkage with other biological features and events, such as fish spawning seasons, will require further investigation.

## Management of wetlands as fish ponds

This seasonality raises some questions about how the ponds would be operated as community fish ponds, rather than as refuges and nursery grounds for the wider reservoir. The fish ponds could function as follows:

- When fish pond is in contact with the reservoir, fish would be allowed to enter the pond from the reservoir, attracted by the habitat and possibly by adding feed or growing of ducks.

- At a certain point as the reservoir level starts dropping below the level of the dyke, a net would be installed across the spillway to prevent the fish in the wetland from leaving it. The net would have to be protected against damage from flushes of run-off and debris.

- The fish would then be allowed to grow up until the reservoir level reaches the spillway level, when they would be harvested, i.e. before they can get move back down into the reservoir again.

The implication of this is that the growing season for the fish in the wetland would be about 6 months long. Trials would have to be undertaken to see if this is long enough under natural feed conditions, or whether additional feed would be required.

Other issues that will need to be discussed and agreed with the local communities would include:

- Access issues and who benefits

- Management and maintenance of the dykes, who would do this and how would costs be covered

- Security issues and ensuring that the fish ponds are not robbed at the later end of the growing season before harvesting

# Recommendations for creating wetlands in the NG reservoir

### Conservation wetlands to be constructed on Houay Gnang (Dykes 1 and 2) and on Houay Kongko (Dy-03)

It is suggested that both these small streams, Houay Gnang and Houay Kongko, would be suitable for the creation of wetlands for conservation purposes. The wetlands on the Houay Gnang would illustrate the concept of having a cascade of wetlands, whilst the dyke on the Houay Kongko creates a large water surface area and volume (nearly 1 ha) and with a competitive cost per m2.

Together these three dykes would create a total wetland area of 27,000 m2, at two different levels within the reservoir – Dykes 1 and 3 have WFL at about 443 masl and Dyke 2 at 447 masl.

They both lie in the conservation area of the reservoir, and would be constructed with the objective of allowing greater diversity of aquatic habitats within the reservoir and possible fish spawning and nursery grounds. Dyke no 2 could also provide access for water for wildlife during the drawdown dry season.

Once constructed these wetlands would need to be monitored both for their engineering stability and the development of the wetland ecology and diversity including fish. This would need to be compared to reference sites within the reservoir with no constructed dykes. See chapter 10.

### Community fish pond to be constructed below the road bridge to Keosangkham (Dyke 4)

On the face of it the wetland created below the road bridge to Keosangkham appears the smallest and least cost attractive, compared to the other sites. However, it has the advantage of being close to the village and accessible both for construction of the dyke, for developing a community fish pond and for monitoring.

It is suggested that the feasibility of raising the dyke level to 2.7 m be considered, both from the point of view of its practicality, the surface area of the wetland created and the extent to which it would cover the footing of the road bridge and culvert. It is important that this wetland should not threaten the integrity of the road. This means that the culvert must be able to adequately discharge flood flows after creation of the wetland .

If the feasibility looks promising, then the design and construction should be discussed with the community of Keosangkham and the arrangements for use as a community fish pond developed. Management, access and sharing of the benefits would need to be agreed.

### Rehabilitate and reconstruct existing fish ponds at Ban Sopkhom (Dyke 5)

The existing fish ponds at Ban Sopkhom present a unique opportunity in that the basic concept of created wetlands within the drawdown area is already in place, and the development of such a wetland within the drawdown area can be monitored with very little investment. The wetland could be used for either conservation of the fish stocks and diversity, or used as community fish ponds.

It is recommended that the detailed requirements be investigated for stabilizing the existing lower dyke, including the need for using rip rap facing and water level control measures across the spillway, and for reconstructing the upper dyke at Dy-05.

The engineering maintenance will require monitoring, as will the development of the wetland ecology and diversity. If the ponds are to be used as community fish ponds, the same sort of arrangements as for Dy-04 would need to be discussed with the nearest communities.

### General recommendations

The creation of these wetlands should be well monitored, and the lessons learnt for the design and construction of stable dykes within such reservoirs developed.

The development of wetland ecology and diversity should be an important part of the research program suggested in Chapter 10.

### Next steps

If THPC is interested in taking this idea forward, it is suggested that a meeting be held between the company and MK1 and MK3 to identify what would need to be done, funding required and short-term and longer term activities.

# Other issues

## Revegetation of drawdown areas

During the field trip, the overall visual impression of this young reservoir is of the remaining dead trees, bamboos and other vegetation that are still standing along the shoreline in the drawdown area of the reservoir. However, the visual impact of these standing trees is far less dramatic than in Nam Theun 2 reservoir.

The biomass and forest regeneration programme on the Nam Gnouang reservoir has started some measures for replanting areas in the proposed protection area, especially with bamboo and fruit bearing trees. This is hoped to encourage wildlife to repopulate these areas. The created wetlands will serve to provide water source for wildlife during the dry season when access to the reservoir is more difficult because of the drawdown.

However, another form of regeneration of the vegetation could include the drawdown areas, through targeted replanting of suitable shoreline with trees, shrubs and grasses that can survive significant periods of inundation as indicated above. At present there are unlikely to be any such plants in this locality and so they would need to be introduced from within the region, e.g. from wetlands and flooded shrubland and forest areas within Lao PDR and Thailand.

Revegetation of suitable areas of the drawdown with such plants will also increase the habitat diversity of the reservoir, and improve the visual impact of either the dead standing trees, or the more usual barren drawdown areas that characterize large storage reservoirs.

The identification of suitable plants for revegetation from the region will be included in the research proposal.

## Fisheries information gathered

We had an interview of a fisherman (Mr. Da Tenpinit) on an island in the reservoir with the help of Mr. Ounheuan Khammeungmon, fishery officer of THPC) and the head of fisheries community of Keosengkham.

The following information came from the interview:

- Fisher groups: grouped by fishing purpose and resident location, with different license fees:

- Fishing for family: 121 fishers in Keosengkham, each is paying 30,000 Kip/year for a license for a maximum of 5 kg/day. We don’t know how many from outside of Keosengkham.

- Fishing for trade: 60 fishers in Keosengkham and about 50 from outsides. Each fisher in Keosengkham has to pay 30,000 Kip/month for a license of fishing for trade. Outside (non-Keosengkham) fisher has to pay higher fee, 100,000 Kip/month.

- Fishing control:

- 2 checkpoints for only fishing for family, one at Sop Khom (near Keosengkham) with 2 government officers + 1 of THPC, and the other at Thasala (we did not visit). Fishers for family have to pass the checkpoints (mentioned below) for checking. If amount is over 5 kg, they can only take 5 kg, and the remaining will be kept at checkpoints to contribute to community. If a fish is heavier than 5 kg, then fisher can take it for family. Currently the officers just make a warning and have not taken the over fishing amount yet. When we visited the Sop Khom checkpoint, only about 10 fishers passed this point during last few days with average about 2-3 kg, and none of them got 5 kg, perhaps because this period is not high production season as the dry season.

- 2 checkpoints for fish landing and fishing for family: one at Keosengkham (where we saw) and the other at Thasala (under establishment inside the reservoir). Traders have to come to these checkpoints for buying fishes from fishers. Fishing for family also can pass these checkpoints, and the fisheries community will check as at the above checkpoints.

- Some fishers may not pass through the checkpoints, but we don’t expect many with large production.

- Fishing arrangement:

- Fishers do not come back to their resident location every day, but built a hut (example attached) in an island in the reservoir for temporary residence, usually 2-3 nights for Keosengkham fishers, and 10-30 nights for outside fishers. Family may also join them during few days (as Mr. Da’s family in the example photo from Lak Sao). If the hut is used as temporary residence for fishing, they don’t have to get a permit.

- Every day a fisher goes fishing 2 times, one in morning and one in the afternoon, within about 1 km around the island of his hut, to catch fishes from the gill nets that he put around.

- Each fishing license for trade is allow to use up to 13 gill nets x 100 m each, with a size of minimum 6 x 6 cm (Mr. Da has 15 gill nets, but shorter distance than 100 m, because the length depending on fishing location). Fishing license for family is allowed to use a smaller size of 3 x 3 cm. (I assume that no limit of length because the production is limited by 5 kg/day).

- Fishers is grouping into club for reducing the costs of bringing fishes back to fish landing checkpoints (e.g. Keosengkham) where traders is allowed to come and buy fishes (traders are not allowed to come into the reservoir). For example, Mr. Da is joing a club of 4 fishers. Every day one member of his club will collect all the fishes of the others in the club and bring back to Keosengkham checkpoint to sell to traders, i.e. he has to come to KSK only once per 4 days. Therefore almost every fisher has a scale to weight the fishes on the island before giving to his club member who will come to KSK.

- At present there are 5 traders with motorbike and 3 traders with small truck coming to KSK. They have to pay to the fisheries community 1,000 Kip/kg of fish that they buy from fishers (in fact this could be as contribution by fishers because traders will pay 1,000 Kip/kg less to fishers to cover this fee). Therefore there are about 20 persons working for fisheries community to do all the checking, collecting fees etc.

- Fishing costs and benefits:

  - Fixed costs:

  - boat: 1 mil Kip for wooden boat or 50,000 Bath (13.3 mil Kip) for aluminum boat (gasoline tank of US airplane)

  - engine: 6,500 Bath (1.7 mil Kip) for a motor of 5.5 HP.

  - gill net (maximum): 13 nets of 100 m each x 120,000 Kip = 1.56 mil Kip.

  - Daily operation costs:

- gasoline for fishing: 2 trips/day x 2 liter/trip x 10,200 Kip/liter = 40,800 Kip/day

- gasoline for transport fish to KSK (Mr. Da’s case – about 5 km distance): 1/4 trip/day  x 1.5 liter/trip x 10,200 Kip/liter = 3,825 Kip/day (gasoline for travel long distance is less than for stopping many times for fishing, even distance is shorter).

- net damage or lost: one net per week, if maximum 100 m length, i.e. 120,000 Kip/7 days = 17,000 Kip/day

- ice for freezing: provided by traders

  - Benefits from fishing:

- minimum: 5 kg/day x 10,000 Kip/kg = 50,000 Kip/day

- average: 10 kg/day x 10,000 Kip/kg = 100,000 Kip/day

- maximum (in dry season): 20 kg/day x 10,000 Kip/kg = 200,000 Kip/day

- Other observations:

- Thasala village has moved to the road side, about 2 km from the bridge (on the main road after the junction going to dam site), because pollution from reservoir water (we still smell very strong odors at downstream of the dam).

- Many large hills around KSK have been converted to crop lands, mainly upland rice. However, Dr. Souane Thirakul, Biomass/Forestry Advisor of THPC, mentioned that at present THPC and the Government have not forced people to follow the land use plan yet (e.g. farmers are still allowed to cultivate in the forest conservation area).

## Development of a sustainable fishery in the NG reservoir

Fish diversity and production in newly inundated reservoirs typically go through a series of significant changes as the decaying vegetation induces an initial boom in fish production, which is followed by a fall to more sustainable levels after several seasons. Fish diversity falls with inundation as riverine species that can not survive under lacustrine conditions move away upstream or die out. This is shown in the classic example from the flooding of Lake Kariba on the Zambezi in Africa in 1958. (see Fig 19 below)

In this case the number of fish species seems to increase as conditions in the newly inundated reservoir stabilizes after about 10 years. These would be a different species mix than those previously found in the reservoir.

Figure 20: Changes in fish populations and production after inundation of Lake Kariba

The experience being gained of the patterns of change of fish populations and production in the fishery after the inundation and stabilisation of water quality and habitats within the NG reservoir are extremely important both for future fishery management in the reservoir, but more important as an example for the development of a reservoir fishery in this part of South East Asia. This information is so rarely comprehensively collected and analysed, that the work that is being done for monitoring fishery development on the Nam Gnouang reservoir should be written up and made publically available. This information can be used for assessments of impacts for future dams and reservoirs. THPC should be encouraged to write up this experience.

Through the field visit, we realized that the Nam Gnouang reservoir does not have the advantage of surrounding flat lands as occur at the Nam Theun 2 reservoir that provide large natural wetlands. Therefore the construction of “artificial” wetlands is even more important for a sustainable fishery in Nam Gnouang.     With its steep sides and much higher drawdown, the Nam Gnouang is likely to be a significantly less productive reservoir than Nam Theun 2, which has relatively wide areas of shallow banks with a smaller drawdown. On the east bank of the Nam Theun 2 reservoir, grasslands and shrubs already grow in the drawdown area, which can rarely be found in Nam Gnouang.

The influence of the created wetlands discussed in this paper on the overall fish production in the reservoir is not likely to be measurable. However, by comparing the fish populations using the created wetlands with other similar areas around reservoir periphery, an indication of their influence can be gained. This is one of the aspects that will require further monitoring.

# Developing a proposal for a research project

The International Water Management Institute (IWMI) is very interested to develop a proposal for funding the research and development of this concept of creating wetlands within reservoirs. It is suggested that this would be a collaborative venture with THPC. Funding would be sought from appropriate donors for the following activities. These include both outside donors and funds from within the CG system, e.g. CRP 1.3.

This assumes that THPC would be prepared to invest in the construction of these dykes to create the wetlands, which would then be developed and monitored through this research project. The construction costs would be considered as matching funds. The company would benefit from the systematic research and monitoring for the management of these wetlands. Monitoring costs incurred by both the company and IWMI would be covered by the research proposal. The research period would be for 4 years after the construction of wetland sites.

## Suggested title

“Creating wetlands within reservoir drawdown areas for increased biodiversity and productivity”

## Research hypotheses

Several research hypotheses can be developed. These include:

- Habitat diversity within the reservoir will be created through the artificial construction of wetlands within the reservoir draw down, and this will serve to increase the fish diversity and productivity of the reservoir

- The constructed wetlands serve as spawning grounds and draw-down refuges for fish species from the reservoir

- Constructed wetlands within the draw down area of the reservoir can contribute to livelihoods of the communities living around the reservoir.

## Components

The following components and activities of the research proposal might include:

- Revegetation of drawdown areas

- Survey of possible plants in wetland areas (flooded forest trees, bamboos, shrubs, grasses etc) in Laos and Thailand that may have potential for replanting in drawdown areas – what are their hydrological, soil and seasonal requirements?

- Trial plots in NG reservoir

- Assessments on success and effectiveness

- Monitoring of constructed wetlands for conservation

- Hydrology

- Water quality

- Vegetation development

- Phytoplankton and zooplankton

- Benthic fauna

- Fish populations – spawning and nursery grounds

- Wetland health indicators to be developed

- Comparison with reservoir conditions (control sites and main body of reservoir)

The monitoring will comprise of (i) regular monitoring at 6-8 key points in the wetlands and (ii) measurement campaigns 2 or 3 times at critical periods in a year with denser monitoring points. Set up separate comparison sites for monitoring without dyke construction.

- Monitoring of constructed wetlands for livelihoods

- Hydrology

- Water quality

- Vegetation development

- Phytoplankton and zooplankton

- Benthic fauna

- Fish populations – spawning and nursery grounds

- Wetland health – indicators to be developed

- Operation as fish pond – production and labour

- Comparison with reservoir conditions (control sites and main body of reservoir)

The monitoring will comprise of (i) regular monitoring at 6-8 key points in the wetlands and (ii) measurement campaigns 2 or 3 times at critical periods in a year with denser monitoring points.

- Management of constructed wetlands

- Institutional arrangement to involve communities and fishermen

- Sharing of benefits

- Regulations

- Maintenance

- Control on poaching

- Engineering lessons learnt – monitoring of the design and construction and needs for maintenance

- Extension of constructed wetland concepts

- Survey of other locations within NG reservoir

- Guidelines for identifying possible sites within other reservoir

- Promotion of ideas to other dam operators

- Analysis and recommendations

- Processing collected monitoring data and information

- Analysing variations of monitored parameters

- Analysing relationships between parameter variations and wetland indicators

- Providing recommendations in improving wetland management and expansion of wetland sites in the reservoirs.

# Annex: Sites and diagrams of constructed wetlands

### Dyke No 1:

### Dyke No 2:

### Dyke No 3

### Dyke No 4

### Dyke No 5

The GPS coordinates taken by PJM, did not always coincide with the GPS points later used by THPC staff, which may lead to some confusion. The coordinates for the surveyed points for the dykes are provided in section 5.3

It is assumed that the water volume is the volume of water in the wetland when the water level is at WFL, not when the reservoir is at Full Supply Level

NGL = Natural Ground Level, WFL = Water Flow Level. Water Flow Level is the level of the spillway at which water in the wetland will flow out of the wetland into the reservoir or vice versa when reservoir is filling up.

Note that this is the same as for Dy-02 which is higher up the inlet. One would have expected the lower dyke to have a larger catchment area.

This simulation is based upon the rainfall patterns for the catchment and takes into account the water levels specified in the THPC Power Purchase Agreement. It has been modeled by IWMI, but is not necessarily agreed by THPC.